DRAFT DRAWING (NOT DEFINITIVE)

MAIN FEATURES

| Nominal load: | 630 kg 8 Passengers |
| --- | --- |
| Speed: | 1 m/s |
| Travel: | 9 m |
| N. of stops: | 4 |
| N? of acceses: | 4 |
| Lighting power: | 230 V |
| Grid voltage: | 400 V |
| N. of phases: | 3 PHASES+NEUTRAL |
| Frequency: | 50 Hz |
| Machine power: | 4,5 kW |
| Heat rejected: | 0,4 kW |
| Power grid supply: | 5,3 kW |
| Nom. Current grid: | 9 A |
| Max. Current grid: | 10,45 A |
| Short circuit | 6 KA |
| rating: |  |
| Controller type: | UNIVERSAL |
|  | SIMPLEX |
| Deadweight car+frame: | 550 kg |
| Number of ropes: | 5 |
| %Counterweighed: | 45 % |
| RANGING MEASURES | MRL |
| A: 386 mm | F: 1514 mm |
| B: 111 mm | G: mm |
| C: 1514 mm | H: mm |
| D: 111 mm | I: mm |
| E: 201 mm |  |
| LOADS IN DaN |
| P1: 3335 daN | P8: | 570 daN |
| P2: 4725 daN | P9: | - daN |
| P3: 50 daN | P10: | - daN |
| P4: 1470 daN | P11: | daN |
| P5: 1211 daN | P12: | daN |
| P6: 570 daN | P13: | daN |
| P7: 1211 daN | P14: | daN |

CUSTOMER: ADDRESS:—

Huskova 2, PN Brno

CITY:

Orotn#

| DRAWN 27/05/2019 EXWB00000 | SCALE |
| --- | --- |
| CHECKED | UNIT mm |
| DRAWING N? |  |
| PAGE | 1 / 8 |

REF:

860898

1. Technická data