A NIMA	LAB
vybave n í la bora toří a zví řet n íkú ·vyz ku m ne modely

Software LabCHart Pro

Software  umožnuje synchronní záznam fyziologických a patologických vitálních signálů, z několika periferii a umožnuje jejích plnohodnotné zpracování a vyhodnocení. Předprogramované panely s filtry umožnůjí ruzné analýzy:

1)	EEG - spektrální a časová analýza
2)	EKG - klasifikace a detekce jednotl ivých EKG segmentů
3)	NIBP
4)	Respirační parametry - hodnocení pomoci PV smyček, vyhodnocování spirometrických a metabolických parametrů - kompatibilní s bezdrátovým systémem pro měření fyziologických parametrů
5)	Pohybové parametry k měřeni akcelerometrických a gyroskopických dat, synchronizase s videofeedbackem , včetně konpativbility s Wii Balance Board a bezdrátovým systémem pro měření EMG.

systém má 32 kanálů a zpracovává dat a získaná z tkání iživých zvířat. Je konpatibilní s analogovými snímači od různých výrobců a má automatickou kalbraci pro připojené snímače. Uložení a záloha dat jsou samozřejmostí a je zachována jejich integrita.

Technická podpora od výrobce ADlnstruments a certifikace ISO 9001 :2008

Marek Digitálně podepsal
Marek Baxa
Datum: 2020.06.26

BaXa

14:47:01 +02 '00'

Animalab s.r o. ·Na Bateriich 57 • 160 00 Praha 6 • česká republika • Tel.:+420 608 886 028 E: info@animalab.cz ·IČO:033 250 08 • Dič: CZ03325008 • www.animalab.cz

What is LabCha rt?
LabChart data acquisition and analysis software creates a platform for allof your recording devices to work together, allowing you to acquire biological signals from multiple sources simultaneously and apply advanced calculations and plots as your experiment unfolds.
Quick to set up and simple to use, LabChart tracks every action you take and never modifies your raw data, ensuring the integrity of your results so you can focus on the true insights of your research.
Use LabChart to:

Simple to use Flexible
Data integrity

Streamlined Workflow
"Of most importance was

•	Record data via Powerlabs and other compatible data acquisition devices Preview and optimize recordings
Import and export data easily Annotate data with comments Automate recording and analysis tasks Convert raw data into useful units Change recording settings in seconds Recall data and experimental sett1ngs
Generate custom1zed stimulus outputs

the fact that alf data wos recorded on a t1me­
ol1gned  beat-by-beat bos1s - this 1s vito/ for the colcu/ot1on of transfer function onolysis bosed on the relationsh1p  between cerebro/  b/ood flow ond blood  pressure."

Signals
LabChart is flexible to the needs of novel research,with the ability to detect,display,and analyze a broad range of signals across many life science applications.
Supported signals include:

Angles
Dissolved Gasses	EOG
Extracellular Recordings	lntracellular Recordings NIBP	Respiratory Gas Analysis Sounds	
dP/dT
ECG EEG	Fluid Flow
Force Glucose	pH Pressure
Pulse	SP02
Temperature Tissue Perfusion	
Electrical Stimulation	GSR	RER	Video	
EMG	Heart Rate	Respiratory Flow	Volume	

Resea rch Applications
Designed specifically for life science researchers,LabChart provides all the calculations, reports,and plots you will need for human, animaland in vitro applications.

Animal	Human
Autonomie	Autonomie
Behavior,Sleep	Cardiovascular
and NeuroscienceExercise and Sport
Cardiovascular	Neurophys iology
Telemetry	Psychophysiology
Tissue and Circulation	Respiratory
Electrophysiology	Speech Pathology
lsolated  OrganTissue and Circulation

lnnovate and extend your studies
Providing the flexibility to extend your stud1es 1nto new territories,1t is easy to add new s1gnals and measurements in LabChar t as your research grows and takes on new direc tions. Looking to stand out from the crowd? LabChart also allows you to create your own advanced calculations and macros to customize your analysis.
lf you have a particular research need you would like to discuss, get in touch with our experienced support team. We can work w1th you to customize an effective solution to record and analyze the specific data that you need.

LabChart Features
LabChart is designed for quick and easy use, allowing full controlof your data. Advanced features stay out of the way until you need them,letting you do the basies with minima! fuss.

LabChart combined with A·M Systems hardware,

Analysis Manager

displaying Spike Histogram analysis.

Arithmetic
BuiId your own customized formulae, detection,and analysis within LabChart.

acquisition.

Combines flexible and clever cycle detection to create a simple to use analys1s for periodic waveforms.

Feature Manager

Easily manage wh1ch dev1ces,1nputs and LabChart channels will be
acqu1ring data - all from one panel.

Display raw data or calculation signals as a large numer ical display.

Discover anci install new features and updates,or toggle off features and menus you aren't planning to use right away.

Guide Lines
Guide Lines provide a quick but powerful way to divide your data amplitude into regions of interest.

Layout
Display your screen the way you want .Smart Tile quickly snaps w1ndows into a neat arrangement ,or save your own layout preference.

Scope V iew
Display, overlay, average and analyze periodic or evoked

Spectrum
Convert signals into component frequencies that can be

. -

waveforms in real time.

Macros
Record your act1ons for repet1tive operat ions,or get  under  the hood and wnte custom processes 1n VB Script.

Playback File
Stream pre-recorded data as 1f the data were coming live from an attached device (Windows on ly).

. '

Split Screen
Show traces w1th two separate x-ax1s d1splays, 1deal for viewing long term trends alongside Iatest data.

Stimulator
Create a custom protocol to st11nulate your preparation d1rectly or to control a stimulus isolator.

Units Conversion
Th1s s11nple two point calibrationlool makes it easy to convert vol s into other common units of measurement.

Zoom View
Take a doser look at an event, compare the timing between two overla1d channels, and export your images to pubhsh.

LabChart Extensions
Extensions are optional features available with any version of LabChart and allow additional data formatting,filtering,visualization, measurement and calculation.

Audio Output
Allows data to be played back as sound.Useful for playing back input such as heart, animal and voice sounds.

Cardiac Ax is
Automate calculations of fronta Iplane ECGs and animate cardiac vector display.

Event Manager
Monitors incoming signals, detects user­ defined events and performs user-defined actions.

Export QuickTime
Save LabChart data files as QuickTime movies, then view on any supported platform or embed in other media.

Fast Response Output
Control digital and analog outputs of supported Powerlab units.

LabChart Remote App
Connect your iOS device to your sampling computer and operate certain functions of LabChart remotely via W iFi.

Multipoint     Calibration Convert raw voltage signals from
PowerLab into your desired units.

Non- lnvasive Cardiac Output Allows a real-time estimat1on of continuous cardiac output to be calculated from an NIBP trace.

Scheduler
Sc hedule reco rdings across one or more LabChart data files.

Spirometry
Derive respiratory pararneters based on flow and volume such as VE, VT, PIF,PEF, FVC and FEV 1•

Telegraph
Make use of the gain telegr aph output from an electrophysiological  amplifier.

LabChart makes 1t easier to go wherever your research loads

Specia lized analysis with LabChart Modules
Modules provide highly specialized data acquisition and analysis features for specific research applications. The full suite of modules are included with a LabChart Pro License, or can be purchased individually as needed. Some modules are not available on Mac.

•

Blood Pressure

Generates dose response curves, ECSO values and additional parameters.

Spike   Histogram Detects,d1scriminates and analyzes extracellular spike activity generating a range of plots and statistics.

Provides real-time measurements of parameters such as VC02, V02, VE and RER.

ECG Analysis
Detects and reports the onset ,amplitude and interval t1mes of PQRST from human and animal ECG signals.

Automatically detects,analyzes and reports on parameters from arterial or ventricular pressure recordings.

Cardiac Output
Calculates card1ac output from ;i LabChart recording of a thermod1lution curve measured in animals.

Heart Rate Variabilit y
D1splays and analyzes variation in the interval between heartbeats in human and animal ECG.

PV Loop
Analyzes left and right ventricular pressure/ volume data,calculates loop area plus a wide range of hemodynamic  parameters.

Peak Analysis
Automatic detection and analysis of multiple (but not overlapping) signal wavef orms frorn record1ng.

anolysis to the next Jeve/ ."

DMT  Normalization
Calculates and standardizes opt1mal vesselpretension conditions using the w 1re myograph.

V ideo  Capture Allows the
synchronized
record1ng and playback of a Windows Media Video and LabChart data file.

Budd  Termin Swimm1ng Coach, TeamTermm

PowerLab
Powerlab is a data acquisition {DAQ) device engineered for precise, consistent, and reliable data acquisition. Sample and analyze data from virtually any analog signal via multiple devices and transducers at adjustable sampling rates.

•	Automatically detected by LabChart
•	High speed sampling (up to 200kHz per channel)
•	
Built to last with S year warranty
•	Simple to set up,USB connection to Windows or Mac

LabChart Compatible Systems
As well as sampling from a broad range of instruments, signal conditioners and transducers via Powerlab, LabChart can also stream data directly from a range of compatible digital and wireless devices. These are avai able from manufacturers such as OSI,Oxford, DMT,Equivitial,Delsys and Kent.

To save you valuable time increating course materials,we have developed over 150 LabChart exercises for education. Any of these exerc ises can be customized quickly and set up easily for your laboratory class. Eachlesson includes:

lnstructor

Settings

Student

	Preconfigured

Human Physiology

Guides Cour ses coverea

Files

Protocols	Lab Reports

Versions and Licenses
Data Recording and Analysis

LabChart Pro

LahChart

I

Analysis only and collaboration

Recommended for researchers and educators who want the full range of modules and capab1lity, including automation   of specific measurements.

Recommended for researchers and educators who want the capabilities without  modules and automation of specific measurements.

Limited 6 month licence for undergraduate students. Provides full analysis, save and export functionality (no sampling). Idea! for students conducting data analysis of existing recordings within a
curriculum.

Recommended for anyone who wants to view LabChart data on Windows or Mac.
LabChart Reader doesn't allow saving of data - export image only. Has data pad for analysis.

Main Features	LabChart  Pro	LabChart	LabChart Pro Student License	LabChart Reader
(Free!J	
5 years of updates + upgrades to all LabChart software					

Open and read LabChart files					
Analyze					
Save and export					
Record data					
LabChart Modules LabChart  Extensions					

LabCharc combined with DS/ hardware, displaying  Glucose experiment  calibration.

Data Integrity
"I/ike the fact thatyou can store al/ your data e/ectronically.
Thereis no need to create an auditing troi/, because this is automatic. You can't remove bits of information. What
is really interesting is thatyou can real/y go into the detail of the actual blood pressure trace and perform complex analyses vety quickly. Yousimply export data into a standard template in Excel and have a/Iyour answers in seconds. Vetysmart.n

Dr.Kengatharan,President & COO, Armetheon, Inc.

Maximize your potentia l
ADlnstruments globaltra ining and support systems mean that there is always help at hand to support you with your endeavours and help you learn 'best practices' to move your resea rch forward faster. Visit adi.to/support

Products suppl·ed b AOlnstrumena are mtended ror use 1n researcn and teaching apphcations and env1ronments only Alitradenark  are the property of 1heir respe<ttve owner!.

ADlnstruments Worldwide
Australia  SrazilIEurope IIndia IJapan  China  Middle East  New Zealand INorthAmerica IPakistan ISouth A merica  South East Asia IUnited Kingdom