Zákazník

Cenová nabídka:

Číslo nabídky: Q-82406

Datum: 30.10.2023

Číslo zákazníka: 2000018823

České vysoké učení technické v Praze

Dr Benedikt Bergmann

Jugoslávských partyzánů 1580/3

CZ 160 00 Praha 6 - Dejvice

Obchodní zástupce:

Ing. Karel Dám

Mobile: +420 727 943 730

E-Mail: karel.dam@evidentscientific.com

Název: Mikroskop BX53M

# Objednací č. Položka

ks

1 N5730300

**BX53MRF-S-1-3 Microscope Frame**

1,00

2 N1468400

**U-CTR30-2-2 TRINOCULAR TUBE F**

1,00



Trinocular tube with leadfree optics, 30° inclination and pupillary distance adjustment from 48-75 mm. With fixed 50/50 light distribution and adjustable diopter range (± 5 diopter) on left sleeve. Suitable eye-pieces are WHB10x, WHB10x-H,field-number 20.

3 N1129900

**WHB 10X EYEPIECE FN 20**

2,00

Widefield eyepiece for U-CBI30-2 and U-CTR30, field-number 20.

4 N5232500

BX3M-RLA-S Illuminator

1,00

Manual reflected light illuminator for BX3M and BXFM, ESD compatible, for brightfield, darkfield, DIC, polarization, directional darkfield (DDF) and mixed observation method (MIX). Suitable for IR light observations. 2-position slide control with built-in brightfield and darkfield observation method. Two slots for filter slider with ND, LBD, frosted or color filters, one slot for polarizer and analyzer each. Centrable aperture stop and centrable field stop. Field number 26.5. Compatible with BX3M-LEDR, U-LH100L-3 and U-LH100IR lamp house and U-#RE, U-#RES, U-#REMC nosepiece. Including Allen key.

Mikroskop BX53M, Q-82406, 30.10.2023

**ks**

5 N5232800

**BX3M-LEDR Light source**

1,00

# Objednací č. Položka

Reflected LED light source for BX3M-RLA-S, BX3-URAS-S and U-KMAS illuminator. Color temperature white (5700K), 20.000 h life time. Light intensity control via BX53MRF-S or BX53MTRF-S microscope frame or BX3M-PSLED external power supply.

6 037416

**U-D6BDRE SEXTUPLE REV.NOSEPIEC**

1,00

11 037497

**U-MSSP STAGE PLATE**

1,00

12 N5687400

**U-TV0.5XC-3-8 camera adapter**

1,00

|  |  |  |  |
| --- | --- | --- | --- |
| 7 | N5743900 | **MPLFLN5XBD Objective**MPLFLN5XBD Objective 5x/N.A. 0.15, W.D. 12mm | 1,00 |
| 8 | N5744500 | **MPLFLN10XBD Objective**MPLFLN10XBD Objective 10x/N.A. 0.3, W.D. 6.5mm | 1,00 |
| 9 | N5744300 | **MPLFLN20XBD Objective**MPLFLN20XBD Objective 20x/N.A. 0.45, W.D. 3.0mm | 1,00 |
| 10 | 037494 | **U-SVRM MECHANICAL STAGE RIGHT** | 1,00 |

C-mount adapter with magnification factor 0.5X. Compatible with SZX, SZX2, CKX, BX2, BX3, BX3M, BXiS,
GX, MX trinocular observation tubes and IX2/IX3 left side port, IX3 right side port, GX intermediate side port.

13 E9701717

**LC35-CU camera**

1,00

LC35- CU camera- Color 3.5MP CMOs sensor

14 035425

**UYCP el.přívodní kabel**

1,00

15 ESS00102

BX/GX\_I-D0-INST Installation

1,00

The installation of the BX4, BX5 and GX microscope systems will be carried out in accordance with the man ufacturer installation procedure. Installation of the camera and Olympus software on a computer. Configurati on of the software in connection with the microscope. A basic operation instruction for the user will be perfor

Mikroskop BX53M, Q-82406, 30.10.2023

# Objednací č. Položka

**ks**

med by an Olympus Service engineer. The installation documentation will be handed over. The price include s all labor and travel expenses.

Celková cena bez DPH: 385 574,76 Kč

Mikroskop BX53M, Q-82406, 30.10.2023

Další informace, dodací a záruční podmínky

V objednávce prosím vždy uvádějte číslo nabídky uvedené v záhlaví.

Platnost nabídky: 30 dnů od data vystavení.

Záruka na přístroje: 24 měsíců

Dodací lhůta: 30 - 40 dní

Platební podmínky: faktura splatná 14 dní po dodání zboží.

Záruční i pozáruční servis a kalibrace zajišťuje Evident Europe GmbH - odštěpný závod.

Vezměte, prosím, na vědomí naši změněnou právní formu platnou ode dne 1. dubna 2022. Tato změna bude mít na dodávky, které Vám dodáváme, dopad z pohledu DPH. Pokud budeme mít k dispozici vaše platné DIČ, zúčtujeme plnění, která vám dodáváme jako tzv. intrakomunitární plnění od 1. 4. 2022, což znamená, že tato plnění jsou osvobozena od DPH v souladu s § 138 zákona č. Směrnice EU o DPH. Příslušná legislativa vyžaduje, abyste Vy, jako náš zákazník, přiznali zakoupení zboží pořízeného uvnitř Společenství u své příslušné daňové správy. V opačném případě budeme muset dodávky, které Vám dodáváme, od 1. dubna 2022 vypořádávat jako dodávky podléhající DPH v Německu a účtovat DPH ve výši 19 %. Máte-li platné DIČ, žádáme Vás tímto o jeho poskytnutí, abychom mohli dodávky, které Vám dodáváme, v budoucnu vypořádávat jako takzvané dodávky uvnitř Společenství podle článku 138 Směrnice EU o DPH.

Položky týkající se nabízených služeb jsou uvedeny včetně DPH vzhledem k tomu, že jsou tyto služby prováděny lokálně.

[www.evidentscientific.com/imprint](http://www.evidentscientific.com/imprint)

Děkuji Vám za Váš zájem a v případě dotazu se na mě, prosím, kdykoliv s důvěrou obraťte.

Ing. Karel Dám

Tel: +420 727 943 730

Email: karel.dam@evidentscientific.com

Mikroskop BX53M, Q-82406, 30.10.2023