děkujeme za poptávku a zasíláme následující nabídku:

| Pol. | Množ. | Označení zboží |  | Cena b. DPH EUR | DPH % | DPH EUR | Celkem vč. DPH EUR |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 8 ks | 8703 |  | 541,00 | 21 | 113,61 | 5 236,88 |
|  |  |  | OEM Picomotor Driver Module; Single-axis driver module; analog and TTL interface [New Focus] |  |  |  |  |
| 2 | 4 ks | 8807 |  | 995,00 | 21 | 208,95 | 4 815,80 |
|  |  |  | Picomotor Center Mount; for 1 inch diam. optics; 2 motorized axis; angular resolution 0.7µrad; angular range ±4°; optical axis height 25.4mm; cable length 2.1m [New Focus] |  |  |  |  |
| 3 | 1 ks | 8758 |  | 479,00 | 21 | 100,59 | 579,59 |
|  |  |  | Hand Control Pad; for 874x Picomotor controllers/drives; allows local control withou a computer; can interface up to 31 drivers; analog and digital controls; powered via USB [Newport / Spectra-Physics] |  |  |  |  |
| 4 | 2 ks | 8816 |  | 1 122,00 | 21 | 235,62 | 2 715,24 |
|  |  |  | Picomotor Gimbal Mount; Ultima true gimbal mount with 2 Picomotor actuators; optics diam. 2"; angular range ± 4°; angular resolution 0.7µrad [Newport / Spectra-Physics] |  |  |  |  |
| 5 | 2 ks | 8401-M |  | 1 042,00 | 21 | 218,82 | 2 521,64 |
|  |  |  | Motorized Rotary Stage; angular resolution 0.2mrad; max. load 4.5N; speed (@ 1kHz) 1 - 2 RPM; incl. adapter for mounting 1" (25mm) optical components; metric version [Newport / Spectra-Physics] |  |  |  |  |
| 6 | 4 ks | 9071-M |  | 288,00 | 21 | 60,48 | 1 393,92 |
|  |  |  | 4-Axis aligner; degrees of freedom X, Y, ThetaX, ThetaY; linear travel range X, Y 3mm; angular range 8 deg.; linear resolution per 5° turn X,Y 4.4µm; angular resolution per 5° turn 87µrad; max. load 13N; easy front access to all adjustments; metric version [Newport / Spectra-Physics] |  |  |  |  |
| 7 | 4 ks | 9081-M |  | 306,00 | 21 | 64,26 | 1 481,04 |
|  |  |  | 5-Axis aligner; degrees of freedom X, Y, Z, ThetaX, ThetaY; linear travel range X, Y, Z 3mm; angular range 8 deg.; linear resolution per 5° turn X,Y,Z 4.4µm; angular resolution per 5° turn 87µrad; max. load 22N; easy front access to all adjustments; removable mounting plate; metric version [Newport / Spectra-Physics] |  |  |  |  |
| Doprava: |  |  |  |  |  |  |  |
| 8 | 1 | DAP |  | 35,00 | 21 | 7,35 | 42,35 |
|  |  |  | Dopravné a balné |  |  |  |  |
| Základ DPH 21% - Celkem |  |  |  | 15 526,00 EUR |  |  |  |
| DPH 21% - Celkem |  |  |  | 3 260,46 EUR |  |  |  |
| Celková cena |  |  |  | 18 786,46 EUR |  |  |  |

Dodací doba: cca 5-8 týdnů
Tato nabídka platí: 14 dnů
V ceně je zahrnut recyklační poplatek WEEE.
Firma MIT s.r.o. dodává zboží pouze na základě Všeobecných podmínek prodeje a dodání.

Pozn.:
- Ceny obsahují speciální slevu pro HiLASE.

S pozdravem

Martin Moser