Annex no. 3 – Update of the technical specification of the works – selected chapters 
Додаток №. 3 – Оновлення технічної специфікації робіт – обрані глави
B3) Attic floor and 3rd floor ceiling
The floor of the attic space will be fully prepared for the installation of the heat insulation in the frame of this project. It means that the floor of the attic space will be completely cleared and leveled. 

Installed thermal insulation (mineral wool) technical characteristics must be in accordance with valid Ukrainian technical norms for the heat insulation and heat resistance of used material. Minimal thickness of requested thermal insulation - mineral wool, is 200 mm.

Installation of the thermal insulation shall allow non problematic installation of power lines in the ceilings of the 3rd floor, which will be implemented in a next stage of the object reconstruction (it is not a subject of this project).
Decking and new ceiling will be installed after the structural beams of the 3rd floor will be reconstructed. Installation of decking and a new ceiling covers the selected parts of the building – for details please see the technical documentation. It will be constructed from the gypsum board desks on a structural system suitable for this technology (for further details see the drawing number 19 – Annex no. 2 of the Contract Amendment no. 1). The rest of the decking will remain as it is – only the main damages in the case of presence (holes) will be fixed.
Two accesses to the attic space will be framed and filled in the staircase area. Both will be equipped by strong ladder, comfortable for use. The hatches will be lockable.
B3) Горищне перекриття і стеля на третьому поверсі 
Підлога горища буде повністю підготовлена для установки теплоізоляції в рамках цього проекту. Це означає, що підлога горищного приміщення буде повністю очищена і вирівняна.

Встановлена ​​теплоізоляція (мінеральна вата) повинна відповідати чинним українським технічним нормам по теплоізоляції і термостійкості використовуваних матеріалів. Мінімальна товщина запитаної теплоізоляції - мінеральної вати - 200 мм.
Установка теплоізоляції повинна дозволяти безпроблемну установку ліній електропередач на стелі 3-го поверху, яка буде реалізована на наступному етапі реконструкції об'єкта (даний проект це не включає).

Настил і нова стеля будуть встановлені після реконструкції структурних балок 3-го поверху. Установка настилу і нової стелі покриє обрану площу будівлі – для пояснення див. Технічну документацію. Він буде складатися з гіпсокартону, встановленного по конструктивній системі, придатної для цієї технології (пояснення див. на кресленні №19 Annex no. 2 з Поправки контракту №1). Решта настилу залишиться в початковому стані – тільки основні пошкодження (діри) в припадку наявності будуть одремонтовані.

На сходовому майданчику до горищного приміщення будуть побудовані два доступи. Обидва будуть оснащені міцними сходами, зручними для використання. Люки будуть замикатися.
G. VENTILATION CHANNELS

New blocks of ventilation channels - labeled BE1 to BE4 shall be constructed. These vents will be used to connect HVAC ducts for ventilation of selected areas.


New vents are designed as flexible metallic pipes, which will run vertically through all floors of the building. Vertical pipes of the vents, when they meet the rooms are closed with gypsum board desks on a new structural steel system (for further details see the drawings number 1 to 9 – Annex no. 2 of the Contract Amendment no. 1).
Outfall of ventilation channels will be above the roof deck.


Part of blocks ventilation ducts are also openings for ventilation for further pipe connections. Ventilation channel walls shall be plastered, ceilings and floor part in the passage channels shall be sealed/plastered.
G. ВЕНТИЛЯЦІЙНІ КАНАЛИ 
Будуть встановлені нові вентіляційні блоки – позначені як BE1 - BE4.  Ці вентіляційні канали будуть використовуватись для з’єднання  HVAC каналів для ветиляції обраних ділянок.
Виходи вентиляційних каналів будуть над настилом даху. 

Частини блоків вентканалів будуть використовуватись як відкриття для вентиляції подальших з’єднань труб. Вентиляційні канали мають бути поштукатурені, стелі та частини каналів на поверхах будуть теж загерметизовані/поштукатурені.
2

